MAURITIUS PORTS AUTHORITY

Executive Summary of Bid Evaluation Report

Project Title : High Security Fencing at Terminal II, MCT, Les Salines & HRB

Procurement Reference Number: CONTRACT MPA 340/2017

Scope of Works:

The work has been divided into two lots as follows:

- Lot I: The Mauritius Container Terminal, Les Salines and H. Ramnarain Building, Mer Rouge. The length of fencing required for Lot I is 2 kms.

- Lot II: The Mauritius Multi-Purpose Terminal – Terminal II. The length of fencing required for Lot II is 2 kms.

The scope of works within the contract for both Lot I and Lot II include the following: -

- Break to remove concrete poles and bases including existing chain link fencing and carting away of construction debris from port area;

- Cut to remove existing galvanized fencing posts and same to be returned to MPA Store;

- Engineering designs of the new high security fence to the relevant British Standards including the bases to withstand a wind speed of up to 300km/h.

- Supply and Erection of new high security fencing posts and panels;

- Construction of ground beam, block wall and stone work;

- Erection of new high security gates;

- Ducting works including manhole chambers; and

- Laying of asphaltic concrete pavement/paving blocks.

Procurement method used: Open National Bidding

Date of Invitation of Bids :  27 February 2018

Closing date for submission of bids : 19 April 2018 at 1400 hours

Date and place of opening of bids : Mauritius Ports Authority on 19 April 2018.

Number of bids received by closing date: FIVE

Responsiveness of bids:

| Name of Bidder | Price at Bid Opening | Responsive or not responsive (Yes/ No) | Reasons why bids not responsive |
| --- | --- | --- | --- |
| H. Padiachy Contractor Ltd | 85,898,588.75 (incl VAT) | NO | Exceed budget estimate |
| J K Construction and Sons Ltd | 69,000,181.70 (incl VAT) but excludes 5% discount | NO | Non-compliance with technical requirement |
| J. Dookhun & Sons Ltd | 94,326,944.00(incl VAT) | NO | Exceed budget estimate |
| Sotravic Ltee | 73,767,278.19(incl VAT) | NO | Non-compliance with technical requirement |
| Ramasawmy & Ramasawmy Co. Ltd | 65,854,680 (excl VAT) | YES | Fully responsive to the qualification criteria |

Best Evaluated Bid:

Ramasawmy & Ramsaswmy Co. Ltd was found to comply with the Employer’s Requirements at the total quoted price of MUR 75,732,882 (Incl VAT), for both Lots I and II.

.

Award of Contract Details

| 1. | Bidder Name : | Ramasawmy & Ramsaswmy Co. Ltd |
| --- | --- | --- |
| 2. | Address : | 278, Allée Brillant, Vacoas. |
| 3 | Contract Amount : | MUR 75,732,882 (Incl VAT) |

------------------------

26 October 2018